Notes from the KPMP regarding our QC processes:

KPMP has calculated inter-assay* coefficients of variation (CV) using data on two KPMP participants with 5 replicates each.  For each participant, the inter-assay* CV is the standard deviation of the 5 measurements divided by the average of the 5 measurements, expressed as a percentage.   These CVs are then averaged across the two participants for the estimate of overall inter-assay* CV. KPMP has provided the results of these analyses in somalogic_plasma_cvs_ANMLNormalized_2024-01-22.xlsx, somalogic_plasma_cvs_NonANMLNormalized_2024-01-22.xlsx, and Somalogic-Plasma-CVs.pdf for users to take into consideration when using this data. A number of samples were flagged by SomaLogic during analysis as part of SomaLogic’s Quality Assurance process. These samples are included in the posted datasets, with flagged samples noted. When examining internal controls, CVs are substantially worse when flagged samples are included. Excluding flagged samples from subsequent analyses may lead to more accurate results.

The data files provided are the SS-2214310_2022-04-28_EDTAPlasma.ANMLNormalized.xls and the SS-2214310_2022-04-28_EDTAPlasma.NonANMLNormalized.xlsx. Normalization processes are described in accompanying SomaLogic documentation. We include datasets with two levels of normalization – partially normalized and fully normalized (ANML). Judgement is needed to determine which dataset to use for a specific purpose.  Many other cohorts focus on fully-normalized (ANML) data, and KPMP ANML may be most comparable in those cases.

KPMP has reformatted the data file in an effort to make all the Opportunity Pool Biomarker datasets similar for users. This does not mean the variable names are identical across data sets but the way the data is formatted (one row of data per participant) will help maintain data model consistency.

Data dictionaries

| Label | Definition |
| --- | --- |
| Sample ID | Sample Identifier |
| Participant ID | Participant Identifier |
| Sample Type | Plasma EDTA, Spot Urine Supernatant, Timed Urine Supernatant, Omnigene Stool, Stool, Serum |
| Participant Event | at what visit was sample taken |
| Biopsy Time Interval Days Post Consent | Number of days after Consent the participant was biopsied |
| Sample Collection Interval Days Post Consent | Number of days after Consent bio sample was collected |
| HybControlNormScale | Hybridization control scale factor |
| RowCheck | Normalization acceptance criteria for all row scale factors. PASS/FLAG |
| NormScale_0_5 | Median signal normalization scale factor (0.005% mix) (only in ANMLNormalized file, NonANMLNormalized results for KPMP samples were 1 so were removed from the data file) |
| NormScale_0_005 | Median signal normalization scale factor (0.005% mix) (only in ANMLNormalized file, NonANMLNormalized results for KPMP samples were 1 so were removed from the data file) |
| NormScale_20 | Median signal normalization scale factor (0.005% mix) (only in ANMLNormalized file, NonANMLNormalized results for KPMP samples were 1 so were removed from the data file) |
| ANMLFractionUsed_20 | ANML Fraction Used refers to the fraction of a dilution group for each sample that is between 2 population reference standard deviations of normal population reference value. Values between 2 population reference standard deviations are used to calculate a ‘NormScale Factor’ for a dilution group. If the ANML Fraction Used is less than 30%, the sample will be flagged; Greater than 30%, the sample will pass. (there are no results in the NonANMLNormalized data file for these variables) |
| ANMLFractionUsed_0_005 |  |
| ANMLFractionUsed_0_5 |  |
| Biomarkers | See Data Column Headers table below to understand Header titles. Values are in Relative Fluorescent Units (RFU) |
| Data Column Headers | Description |
| SeqId | SomaLogic sequence identifier . SomaScan ID of the protein sequenced that is used for mapping purposes when there are mapping updates. |
| EntrezGeneSymbol | Entrez Gene Symbol at time of analysis |
| Organism | Protein Source Organism (Human or Mouse) |
| ColCheck | QC acceptance criteria across all plates/sets . https://github.com/SomaLogic/SomaDataIO/issues/12 “ColCheck refers to if the SOMAmer reagent measurements in our QC replicates pass our metrics. In your SomaScan Quality Statement file, you can find a breakdown of these under the SOMAmers in Tails section. SOMAmers In Tails refers to the cumulative number of SOMAmer reagents in the QC control with a ratio on any plate outside the accepted accuracy range, 0.8 - 1.2, when compared to the reference. Flagged SOMAmer reagents are typically retained for analyses since accuracy across all assay runs is a robust quality metric but is not a requirement for identification of meaningful biological signal.” |
| EntrezGeneSymbol.SeqId | Entrez Gene Symbol names and SomaLogic sequence identifier separated by "." This is not representative of a column of data but a row header created by KPMP from the available SomaScan row identifiers for the biomarkers. |

Additional Documentation

Along with our data providers, KPMP has tried to maintain a consistent data format across opportunity pool datasets. This does not mean the variable names are identical across data sets, but the way the data is formatted (one row of data per participant) will help maintain data model consistency. SomaScan files have a particular format specified for ADAT file readers. Text (txt) files in this format have been provided.

| File information | File name |
| --- | --- |
| Data file(s) | - SS-2214310_2022-04-28_EDTAPlasma.NonANMLNormalized.xlsx - SS-2214310_2022-04-28_EDTAPlasma.ANMLNormalized.xlsx |
| SomaScan Format Folder Same data files as above but in the SomaScan data format including their QC and Buffer samples | - somascan format-SS-2214310_v4.1_EDTA_Plasma.NonANMLNormalized.txt - somascan format-SS-2214310_v4.1_EDTA_Plasma.anmlSMPNormalized.txt |
| KPMP documentation | OP-SomaScan-Plasma-KPMP QC Data file Information-2022.docx |
| SomaScan Assay Technical Note | SomaScan Assay v4.1 Technical Note Core.PDF |
| SomaScan Data Standardization | SomaScan v4.0 and v4.1 Data Standardization.PDF |
| KPMP QC analysis | OP-SomaScan-Plasma Biomarker-QC Analyses-2024.docx |
| CVs for harmonization | - somalogic_plasma_cvs_ANMLNormalized_2024-01-22.xlsx - somalogic_plasma_cvs_NonANMLNormalized_2024-01-22.xlsx - Somalogic-Plasma-CVs.pdf |

Additional documentation regarding the data provided by the performing laboratory can be found in SomaScan v4.0 and v4.1 Data Standardization.pdf and SomaScan Assay v4.1 Technical Note Core.pdf.

*for some data type it might be intra-CV

Data and Protocols provided by:

This data was made available through KPMP Opportunity Pool Funding RFP-KPMP-OP-21-001. All samples run and data generated by:

SomaLogic

Sales and high-throughput, CLIA-certified lab
 2945 Wilderness Place
 Boulder, CO, 80301 USA

www.somalogic.com